OPTION C (5,500+ Watts Load Set Up)

| Load Item | Qty | Active at Peak | Daily Usage (Hrs) | Peak Watts | Daily kWh |
| --- | --- | --- | --- | --- | --- |
| 1.5 HP Aircon (Inverter) | 5 | 3 | 8 (each) | 3,360 W | 44.8 |
| Automatic Washing Machine | 3 | 1 | 2 (total) | 800 W | 1.6 |
| Refrigerators (Inverter) | 3 | 3 | 24 (Cycle) | 900 W | 10.8 |
| Computers & WiFi | 3 | 3 | 8 | 450 W | 4 |
| LED Bulbs | 20 | 10 | 6 | 100 W | 1.2 |
| TOTALS |  |  |  | 5,610 W | ~62.40 kWh |

| Component | Technical Detail | Estimated Cost (PHP) |
| --- | --- | --- |
| Solar PV Array | 7x 1000W Tier-1 N-Type TOPCon Panels (7,000 Watts or 7 kWp) | ₱110,000 |
| Hybrid Inverter, Solar Controller, Circuit Breaker | 12kW Dual MPPT High-Voltage (Power Inverter) | ₱145,000 |
| Battery Storage | 18Wh LiFePO4 Lithium (4x 5.12kWh units) | ₱190,000 |
| Mounting Kit | AL6005-T5 Aluminum Rails (250kph Wind Rating) | ₱55,000 |
| Electrical BOS | DC/AC Protection, 4mm Solar Cables, Grounding | ₱45,000 |
| Installation & Labor | Professional Engineering & PEE Sign-off | ₱85,000 |
| TOTAL INVESTMENT |  | ₱630,000 |
| Net Metering (OPTIONAL) | Bi-directional Meter, Permitting, LGU Fees | ₱75,000 |
| TOTAL |  | ₱705,000.00 |

ROI (CAGELCO II Rates)

- Current Rate (April 2026): ₱12.27/kWh (Cagayan II Electric Cooperative).

- Avg. Daily Generation: 62.4 kWh (Cagayan Valley's high irradiance factor).

- Annual Savings (Direct + Export): ₱273,000.00.

ROI Computation

Annual Savings (273,000)/  Total Investment(705,000)= 2.58 Years Payback

- Break-even Point: August 2028.

- Lifetime Profit: Over 25 years, this system generates over ₱6.8 Million in avoided electricity costs or savings.

Net Metering & Permitting Breakdown (Optional)

To comply with RA 9513 and CAGELCO II requirements for 2026, the following administrative and technical costs are included:

| Requirement | Description | Cost (PHP) |
| --- | --- | --- |
| LGU Permits | Building & Electrical Permits, CFEI (Final Inspection) | ₱6,500 |
| DIS/DAS Fees | Distribution Impact/Asset Study (CAGELCO II) | ₱5,000 |
| Meter Replacement | Bi-directional Smart Meter (Difference in Cost) | ₱3,500 |
| ERC Application | Certificate of Compliance (COC) Processing Fees | ₱2,500 |
| Documentation | Signed & Sealed Plans (PEE), Notarized Affidavits | ₱7,500 |
| Electrical Engineer Certification |  | ₱50,000 |
| NET METERING TOTAL |  | ₱75,000 |

OPTION B (3,500+ Watts Load Set Up)

| Appliance | Qty | Est. Wattage | Usage (Hours) | Daily Watt-Hours |
| --- | --- | --- | --- | --- |
| 1.5 HP Aircon (Inverter) | 1 | 1,120W | 8 | 8,960 Wh |
| Refrigerators (Inverter) | 3 | 300W (Avg) | 24 | 21,600 Wh |
| TV (Smart LED) | 1 | 100W | 5 | 500 Wh |
| Washing Machine (Auto) | 1 | 500W | 1 | 500 Wh |
| LED Bulbs | 10 | 9W | 6 | 540 Wh |
| Wi-Fi Router | 1 | 20W | 24 | 480 Wh |
| Computers (Desktop/Laptop) | 2 | 150W | 8 | 2,400 Wh |
| TOTAL DAILY ESTIMATE |  |  |  | 34.98 kWh |

| Component | Technical Detail | Estimated Cost (PHP) |
| --- | --- | --- |
| Solar PV Array | 5x 1000W Tier-1 N-Type TOPCon Panels (7,000 Watts or 7 kWp) | ₱78,500 |
| Hybrid Inverter, Solar Controller, Circuit Breaker | 10kW Dual MPPT High-Voltage (Power Inverter) | ₱95,000 |
| Battery Storage | 10kWh LiFePO4 Lithium (2x 5.12kWh units) | ₱87,000 |
| Mounting Kit | AL6005-T5 Aluminum Rails (250kph Wind Rating) | ₱35,000 |
| Electrical BOS | DC/AC Protection, 4mm Solar Cables, Grounding | ₱35,000 |
| Installation & Labor | Professional Engineering & PEE Sign-off | ₱75,000 |
| TOTAL INVESTMENT |  | ₱405,500 |
| Net Metering (Optional) | Bi-directional Meter, Permitting, LGU Fees | ₱75,000 |
| TOTAL |  | ₱480,500.00 |

OPTION A (1,500+ Watts Load Set Up)

| Appliance | Qty | Est. Wattage | Usage (Hours) | Daily Watt-Hours |
| --- | --- | --- | --- | --- |
| Refrigerators (Inverter) | 3 | 900W (Avg) | 24 | 21,600 Wh |
| TV (Smart LED) | 1 | 100W | 5 | 500 Wh |
| Washing Machine (Auto) | 1 | 500W | 1 | 500 Wh |
| LED Bulbs | 10 | 9W | 6 | 540 Wh |
| Wi-Fi Router | 1 | 20W | 24 | 480 Wh |
| Computers (Desktop/Laptop) | 1 | 75W | 8 | 1,200 Wh |
| TOTAL DAILY ESTIMATE |  |  |  | 24.334 kWh |

| Component | Technical Detail | Estimated Cost (PHP) |
| --- | --- | --- |
| Solar PV Array | 3x 1000W Tier-1 N-Type TOPCon Panels (7,000 Watts or 7 kWp) | ₱57,100 |
| Hybrid Inverter, Solar Controller, Circuit Breaker | 5kW Dual MPPT High-Voltage (Power Inverter) | ₱40,000 |
| Battery Storage | 5kWh LiFePO4 Lithium (2x 5.12kWh units) | ₱25,000 |
| Mounting Kit | AL6005-T5 Aluminum Rails (250kph Wind Rating) | ₱15,000 |
| Electrical BOS | DC/AC Protection, 4mm Solar Cables, Grounding | ₱20,000 |
| Installation & Labor | Professional Engineering & PEE Sign-off | ₱20,000 |
| TOTAL INVESTMENT |  | ₱177,100 |